This is a “SAMPLE” Biohazard Control Plan for Human Blood, Body Fluids, and Reagents Derived from Blood or Body Fluids; human cell lines (e.g. HeLa, HEK 293, etc. Please read carefully and make sure that the “Biohazard Control Plan” that will be submitted to the IBC for review and approval is specific to your proposed research and the associated biohazards.

Principal Investigator:

D.	IBC Biosafety Application - Biohazard Control plan

Instructions: Principal investigator is required to develop a plan to assure adequate protection of employees, students, the community, and the environment. The plan should take into account the nature of the research and the degree of risk. General information regarding biological safety can be obtained from the University of Colorado Colorado Springs Environmental Health and Safety Biosafety website  or from the following reference sources: Biosafety in Microbiological and Biomedical Laboratories (http://www.cdc.gov/od/ohs/biosfty/bmbl5/bmbl5toc.htm), Centers for Disease Control and National Institutes of Health, HHS publication no. (CDC) 93-8395, 5th ed., February 2007; "Guidelines for Research Involving  Recombinant DNA Molecules (http://www4.od.nih.gov/oba/rac/guidelines/guidelines.html)," Federal Register 51: 16958-16985 (1986) and current revisions.

.

1. Exposure determination:

Note: For research involving human cell lines, blood, body fluids, and reagents derived from blood or body fluids, investigators are required to treat all materials as if known to be infectious for HIV, hepatitis B or hepatitis C virus and/or other blood-borne pathogens.

a.	List who will be working with hazardous material (by name & job title).

Jane Doe (graduate student), Mark Smith (graduate student), Bob Jones (research associate), Julia Jones (undergraduate student), Dana Roberts (principal investigator)

b.	Describe the general types of experimental procedures that will be performed (e.g. cell culture, protein purification, drawing blood, etc).

Cell Culture. Cultures of mammalian cells will be grown, transfected or virally transduced with recombinant DNA, and imaged on a microscope. Bacterial cultures are used to propagate vectors of recombinant DNA. Cultures of pathogenic bacteria (Salmonella or Pseudomonas) will be grown and used to infect mammalian cells. This process will be visualized on a microscope.

2. Control methods:

a.	Describe facility in which work is to be performed.

Mammalian cell culturing and viral transduction will be done in either the Tissue Culture Facility (Cristol 214) or in Cristol 250 in a BSL2 Biosafety Cabinet. Bacterial culturing (E. Coli, non biohazardous) will be done in Cristol 328. Culturing of Salmonella will be done in room 328 in an area designated for Salmonella BSL2 work. This area is marked with appropriate signs. Culturing of Pseudomonas will only be done in a BSL2 Biosafety Cabinet, either in Cristol 250 or in the laboratory (Benson 445) of Mary Smith (Co-PI on this project). All rooms are equipped with hand washing stations and eye washes.

b.	Describe who will have access to the facility and how access will be controlled (If relevant, describe signs, doors, type of lock, separation from corridors and other work areas, etc.)

The labs will be locked and only personnel who have been properly trained (see question 7) will have keyed access. A hazard warning sign (w/ universal biosafety symbol) will be posted on the door to the lab and again right at the BL2 work area. Any trash cans that contain BL2 waste will be clearly marked (again with universal symbol) so these are not changed by custodial personnel

c.	How and when will facility be cleaned and decontaminated? Will Facilities Management custodial personnel have routine access, and if so, how will they be protected from hazardous materials?

Facility will be cleaned and decontaminated by laboratory personnel immediately after use. All waste will be disposed of properly. Any potentially contaminated surfaces will be cleaned with bleach and ethanol. Custodial personnel will have access to the rooms but all infectious waste will be handled by our lab and non-infectious waste will be sealed in puncture proof containers.

d.	Describe safety devices that will be used. These may include some or all of the following: biosafety cabinets, hand washing facilities, mechanical pipetting devices, puncture resistant sharps containers, splash guards, self-sheathing needles.

Biosafety cabinet-level II, eye-wash and hand-wash stations, autoclave for decontaminating waste, clearly labeled BSL2 waste containers, clearly labeled puncture-proof sharps containers, mechanical pipeting devices,

e.	What types of personal protective equipment will be used (gloves, masks, lab coats, etc). How will the equipment be decontaminated, laundered, or disposed of?

Personal protective equipment includes lab coats, gloves, and eye-protection (which are required). Contaminated gloves will be disposed of in biohazardous waste. Decontamination procedures involve chemical sterilization (bleach and ethanol) and heat (autoclave).

4.	3. Vaccination: Will it be necessary to vaccinate workers against infectious agents? If so, describe plans for vaccinations. (Workers who handle human blood or other materials that may contain hepatitis B virus have the right to be vaccinated against HBV at no cost to them. Contact EHS for assistance with this issue.).

HBV vaccine will be offered to all lab personnel working with human specimens or cell cultures. A record of lab personnel who have received the HBV vaccine series will be maintained and made available to the IBC and EH&S.

5.	Accidents: What procedures will be followed in case of an accident? (Note that incidents involving worker exposure to infectious material are covered under Worker's Compensation.) The IBC and EH&S must be notified immediately of incident, even if there is a “perceived” exposure. A Risk Management “Employee Injury Report Form” must be completed for all injuries, https://urm.cusys.edu/docs/forms/incidentreportform.asp and a “Needle Stick or Bodily Fluid Exposure Report Form” for these types of injuries/exposures, https://urm.cusys.edu/docs/forms/needlestickincidentreportform.asp

All accidents will be handled according to our emergency action plan (for accidents involving hazardous or infectious materials, fires, gas leaks, or explosions). Briefly, personnel are instructed to take the following actions (in order): 1) Life Safety First, 2) Evacuate immediate area, 3) Pull Fire Alarm, 4) Call 911 from a safe location, and 5) Remain available for emergency personnel. Any accidents involving infectious material or injury will be reported. All personnel will be made aware of fire extinguishers, fire-alarm pull stations, eye washes and showers, MSDS, first aid and spill clean up kits.

5.	Waste disposal: Describe provisions for disposal of hazardous materials. If all or part of hazardous material is to be decontaminated on site, specify procedures to be used. All biohazardous waste will be processed according to EH&S “Biological Laboratory Waste  Management – Disposal Policy & Procedure”

All waste will be disposed of according to the Biological Laboratory Waste Management guidelines for UCCS. Briefly, biological waste will be separated into infectious and non-infectious (we use separate clearly marked containers). Any potentially infectious waste will be chemically disinfected, placed in a Hazardous Waste autoclavable bag, and autoclaved. Non infectious biological waste will be placed in a sturdy autoclavable bag with a non-biohazardous waste certified tag and placed in designated autoclave area. Sharps will be separated according to infectious and non-infectious puncture proof containers. Potentially infectious sharps will be autoclaved and tagged for hazardous waste pick up. Hazardous waste will be stored in a designated SAA and tagged for hazardous waste pick-up.

6.	Labeling: Describe tags, labels, or bags that will be used to identify hazardous materials. If hazardous material is to be decontaminated on site, specify how material will be labeled to indicate that it is no longer infectious.

Heat resistant Biohazard autoclave bags will be used will autoclaving. These bags have built in sterilization indicators that indicate appropriate sterilization has taken place.

Biological waste (non infectious or decontaminated) will be tagged with Non-biohazardous waste tag and placed in designated area.

7.	Training: Describe how workers will be trained to handle hazardous materials. For training in the safe use of blood-borne pathogens or to properly package and ship biological materials, contact Environmental Health and Safety at 255-3212.

All workers are required to attend EH&S hazardous materials generator training. In addition workers will be trained on site so they are familiar with the specific risks and safety procedures relevant to the lab/project.